## Metadata
Variable | Description | Unit
Date | Timestamp of recorded measurement | YYYY-MM-DD
Wind_Speed | Speed of the wind that influences turbine operation | meters per second (m/s)
Power | Power output generated by the wind turbine | kilowatts (kW)
Nacelle_Ambient_Temp | Temperature inside the nacelle | Degrees Celsius (°C)
Generator_Bearing_Temp | Temperature of bearings inside the generator | Degrees Celsius (°C)
Gea_Oil_Temp | Temperature of the gear oil used for lubrication in the gearbox | Degrees Celsius (°C)
Ambient_Temp | External environmental temperature surrounding the wind turbine | Degrees Celsius (°C)
Rotor_Speed | Speed of the rotor blades spinning in response to wind | Revolutions per minute (RPM)
Nacelle_Temp | Overall internal temperature inside the nacelle | Degrees Celsius (°C)
Bearing_Temp | Temperature of the main shaft bearings | Degrees Celsius (°C)
Generator_Speed | Rotational speed of the generator shaft | Revolutions per minute (RPM)
Yaw_Angle | Orientation angle of the wind turbine relative to the wind direction | Degrees (°)
Wind_Direction | The direction from which the wind is blowing | Degrees (°) [0° = North, 90° = East, 180° = South, 270° = West]
Wheel_Hub_Temp | Temperature at the wheel hub which connects the rotor to the main shaft | Degrees Celsius (°C)
Gearbox_Inlet_Temp | Temperature of the gearbox at the oil inlet | Degrees Celsius (°C)
Failure_Status | Indicator of wind turbine failure based on operational conditions | Binary (0 = No Failure, 1 = Failure)

## EDA
| First Moment Business Decision |  |  | Second Moment Business Decision |  |  |  |  | Third Moment Business Decision | Fourth Moment Business Decision | Univariate Analysis | [8 empty] | Bivariate Analysis |  |  |  | Multivariate Analysis
Variable | Mean | Median | Mode | Variance | Standard Deviation | Min | Max | Range | Skewness | Kurtosis | Pie Chart | Histogram | Density Plot | Statistical Insights | Business Insights | Box Plot | Statistical Insights | Q - Q Plot | Statistical Insights | Time Series Analysis | Outliers by Variable vs Failure Status | Violin Plot by Variable vs Failure Status | Scatter Plot | Variable trend by Failure Status | Box Plot after outlier Treatment | Q - Q Plot After Outlier Treatment | Skewness | Q - Q Plot After Yeo-Johnson Transformation
Date | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Wind_Speed | 16.39 | 13.87 | 24.75 | 174.34 | 13.2 | -5.23 | 53.88 | 59.11 | 0.81 | -0.37 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and skeweness is present in that data. 2. Since Mean > Median < Mode, this is a right-skewed distribution (positively skewed). 3. A few high wind speed values are pulling the mean upwards. 4. A large portion of wind speeds is clustered between 5 and 25. 5. Less frequent occurrences above 30 (likely outliers or rare events). | 1. Turbine is operating under moderate wind conditions (10–25 m/s). 2. The mode (24.75) represents the most common operational wind speed, which might be ideal for power generation. It indicates where turbines are most effective. 3. The presence of occasional high wind speeds (30–50 m/s) could trigger emergency brakes, increasing wear and tear. | #VALUE! | 1. Total outliers found as 5. 2. Since outliers are present, so median of wind speed 13.87 m/s is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 6.37m/s and 75 Percentile of the data lies below 21.71 m/s. 4. 50 Percentile of the data lies between 6 - 22 m/s. 5. Outliers are present above upper limit 44.7 m/s | #VALUE! | 1. Not normally distributed 2. Data is right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.8 | #VALUE!
Power | 3.31 | 2.7 | 1.98 | 6.82 | 2.61 | 0 | 11.88 | 11.88 | 1.6 | 2.1 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and skeweness is present in that data. 2. The majority of the data is located on the left side of the graph, So it is Right Skewed distribution. 3. A large portion of power is clustered between 1 to 3.5 kW. 4. Since Mean > Median > Mode, this is a right-skewed distribution (positively skewed). | 1. Mean = 3.313 kW, Mode = 1.982 kW indicating, Turbines frequently operate in low-power zones, likely due to moderate wind conditions or operational constraints. 2.Maximum Power = 11.884 kW, Turbines are capable of high power, but such events are rare. Analyze conditions during peak performance to optimize future yield. | #VALUE! | 1. Total outliers found as 1037. 2. Since outliers are present, so median of power 2.69 kW is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 2.2 kW and 75 Percentile of the data lies below 3.3 kW. 4. 50 Percentile of the data lies between 2 - 3.5 kW 5. Most of the outliers are present above the upper limit 4.7kW and few are below the lower limit 0.6 kW | #VALUE! | 1. Not normally distributed 2. Data is heavily right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.07 | #VALUE!
Nacelle_Ambient_Temp | 11.44 | 9.77 | 39.68 | 1897.53 | 43.56 | -260.91 | 290.66 | 551.57 | 0.93 | 4.69 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data looks normally distributed but the distribution is slightly right-skewed 2. The temperature ranges approximately from -200°C to +300°C, though most values fall in a narrower range. | 1. The majority of nacelle ambient temperatures are around 0°C, showing the turbines operate mostly in cold to moderate climates. 2. Investigate and validate these high-temperature readings. Flag values above ~150°C for review. | #VALUE! | 1. Total outliers found as 722. 2. Since outliers are present, so median of nacelle ambient temperature 9.76°C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 1.2°C and 75 Percentile of the data lies below 28°C 4. 50 Percentile of the data lies between 1 - 30°C 5. Most of the outliers are present above the upper limit 68°C and few are below the lower limit -39°C | #VALUE! | 1. Not normally distributed 2. Data is right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -0.07 | #VALUE!
Generator_Bearing_Temp | 84.07 | 83.11 | 85.59 | 800.42 | 28.29 | 9.92 | 143.56 | 133.64 | -0.13 | 0.39 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not normally distributed. 2. Distribution is slightly left-skewed. 3. The Generator bearing temperature ranges approximately from 10°C to 150°C 4. A large portion of the Generator bearing temperature clustered between 60°C to 100°C | 1.Minimum of 9.91°C is abnormally low - likely from: • Sensor misreading • Periods of inactivity (e.g., shutdown or maintenance) 2. Max temperature which might exceed the safe operating limits of generator bearings. Consistently high temperatures reduce bearing lifespan and can trigger turbine shutdowns. | #VALUE! | 1. Total outliers found as 637. 2. Since outliers are present, so median of Generator_Bearing_Temp 83.12°C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 72.58°C and 75 Percentile of the data lies below 95°C 4. 50 Percentile of the data lies between 70 - 95°C 5. Most of the outliers are present e below the lower limit 39°C and few are above the upper limit 129°C | #VALUE! | 1. Not normally distributed 2. Data is slightly left skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.12 | #VALUE!
Gear_Oil_Temp | 84.28 | 76.97 | 89.13 | 529.56 | 23.01 | 49.52 | 128.72 | 79.19 | 0.43 | -1.14 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and slightly positive skeweness is present in that data. 2. The majority of the data is located on the left side of the graph, So it is Right Skewed distribution 3. Data is Bimodally Distributed. (2 Peaks) | Max gear oil temperature recorded around 130°C Compare with OEM-specified maximum (typically 110–120 °C). If exceeded, initiate: • Gearbox inspection • Lubricant condition assessment • Cooling system validation | #VALUE! | 1.No outliers are present. 2. Since no outliers are present, so mean of Gear_Oil_Temp 84.27°C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 66°C and 75 Percentile of the data lies below 107°C 4. 50 Percentile of the data lies between 65 - 107°C | #VALUE! | 1. Not normally distributed 2. Data is slightly right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.43 | #VALUE!
Ambient_Temp | 17.78 | 10.25 | -20.6 | 895.36 | 29.92 | -20.6 | 87.54 | 108.14 | 0.9 | -0.22 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and slightly positive skeweness is present in that data. 2. The majority of the data is located on the left side of the graph, So it is Right Skewed distribution 3. Data is Bimodally Distributed.(2 Peaks) | 1. Maximum temperature around 80°C is unusually high for ambient — may be a sensor issue or direct sunlight exposure. • Investigate sensor placement and calibration. • Add shielding or insulation to avoid false ambient readings. 2. The system is experiencing very low temperatures (as low as -20 °C) frequently. Cold weather may cause startup issues, affect lubricant viscosity, or slow rotation of key components. | #VALUE! | 1. Total outliers found as 123 2. Since outliers are present, so median of Ambient_Temp 10.25°C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below -4°C and 75 Percentile of the data lies below 30°C 4. The outliers are present above the upper limit 82°C | #VALUE! | 1. Not normally distributed 2. Data is right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.88 | #VALUE!
Rotor_Speed | 193.36 | 184.22 | 309 | 16031.26 | 126.61 | 0.05 | 463.1 | 463.05 | 0.38 | -0.7 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and slightly positive skeweness is present in that data. 2. The majority of the data is located on the left side of the graph, So it is Right Skewed distribution 3. Data is Multimodally Distributed.(3 Peaks) | 1. The wide range indicates flexible usage, but high speed could point to inconsistent workloads or inefficiencies in usage patterns. 2. Most of the times rotar speed are observed at low speeds around(0 - 50 rpm) and (150-250rpm). 3. Most lowest rotar speeds are recorded at 300 -400 RPM, which may cause the low power geeration. Need to investigate for further. | #VALUE! | 1.No outliers are present. 2. Since no outliers are present, so mean of rotor speed 194 rpm is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 99 rpm and 75 Percentile of the data lies below 263 rpm 4. 50 Percentile of the data lies between 100- 265 rpm | #VALUE! | 1. Not normally distributed 2. Data is slightly right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.38 | #VALUE!
Nacelle_Temp | 46.46 | 46.64 | 61.8 | 708.61 | 26.62 | -20.53 | 121.62 | 142.15 | -0.17 | 0.25 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not normally distributed. 2. Distribution is slightly left-skewed. 3. The Nacelle temperature ranges approximately from .-20°C to 120°C 4. A large portion of the nacelle temperature clustered between 40°C to 60°C | 1. The presence of negative temperatures indicates exposure to freezing climates, requiring robust insulation or heating mechanisms to protect critical components. 2. The presence of high temperatures (>100 °C) indicates exposure to extreme hot climates, requiring robust coolig insulation or a thermal insulators for safety. | #VALUE! | 1. Total outliers found as 613. 2. Since outliers are present, so median of nacelle_Temp 46.64°C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 36°C and 75 Percentile of the data lies below 57°C 4. 50 Percentile of the data lies between 35 - 60°C 5. Most of the outliers are present below the lower limit 4°C and few are above the upper limit 89°C | #VALUE! | 1. Not normally distributed 2. Data is slightly left skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE!
Bearing_Temp | 83.03 | 71.4 | 71.4 | 978.05 | 31.27 | 10.22 | 152.95 | 142.73 | 0.08 | -0.12 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and slightly positive skeweness is present in that data. 2. The majority of the data is located on the left side of the graph, So it is Right Skewed distribution 3. Data is Bimodally Distributed.(2 Peaks) 4. There is huge spread is present in the data. | 1. Maximum Bearing temperture is recorded aroud 150°C, consider ~150°C as threshold for the bearing temperature. 2. Low bearing temperatures may lead to freezy rotation of shaft and high bearing temperatures may lead to friction and degradation of shaft surface, results both bearing and shaft will fail. 3. Maintain the optimal bearing temerature around 60 - 80, which is a good concern showing in histogram. | #VALUE! | 1. Total outliers found as 261 2. Since outliers are present, so median of bearing_Temp 71.4°C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 71.4°C and 75 Percentile of the data lies below 102°C 4. 50 Percentile of the data lies between 70 - 102°C 5. Most of the outliers are present below the lower limit 25°C and few are above the upper limit 148°C 6. 25 Percentile of the data and median are same | #VALUE! | 1. Not normally distributed 2. Data is slightly right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.19 | #VALUE!
Generator_Speed | 1394.99 | 1388.87 | 1782 | 302699.39 | 550.18 | 0 | 3963.62 | 3963.62 | 0.09 | 0 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data looks normally distributed. 2. The generator speed records between 0 to 3500 RPM. 3. There is huge spread is present in the data. | 1. Mostly the generator is operating between moderate speed around 1200 - 1800 RPM, even there is huge spread. 2. Need to investigate why speed is gradually reducing after 2000 RPM, this may lead to low power generation. | #VALUE! | 1. Total outliers found as 67 2. Since outliers are present, so median of geneartor speed 1389 rpm is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 1124 rpm and 75 Percentile of the data lies below 1662 rpm 4. 50 Percentile of the data lies between 1120 - 1660 rpm 5. Most of the outliers are present above the upper limit 2470 rpm | #VALUE! | 1. Not normally distributed 2. Data is slightly right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.02 | #VALUE!
Yaw_Angle | 49.23 | 17.9 | 0 | 3122.53 | 55.88 | 0 | 178.52 | 178.52 | 0.97 | -0.56 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and skeweness is present in that data. 2. The majority of the data is located on the left side of the graph, So it is Right Skewed distribution | 1. Broad yaw movement range (0° to 180°) indicates the turbine system is fully functional in adjusting to wind shifts and can maximize efficiency by turning toward the wind source. | #VALUE! | 1.No outliers are present. 2. Since no outliers are present, so mean of yaw angle 49.23° is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 6.4 ° and 75 Percentile of the data lies below 93° 4. 50 Percentile of the data lies between 6 - 94 ° 5. Median is extremely close to 25 Percentile of the data | #VALUE! | 1. Not normally distributed 2. Data is right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.97 | #VALUE!
Wind_Direction | 61.24 | 37.31 | 7.22 | 11983.03 | 109.47 | -413.41 | 631.97 | 1045.38 | 0.94 | 3.97 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data looks symmetrically distributed but the distribution is slightly right-skewed 2. The wind direction ranges approximately from -400° to +600° 3. A large portion of the Wind direction clustered between 0° to 100° | 1. For to get max power output from wind turbine, it needs to operate in the max wind direction. | #VALUE! | 1. Total outliers found as 444. 2. Since outliers are present, so median of wind direction 37.30° is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 10° and 75 Percentile of the data lies below 91° 4. 50 Percentile of the data lies between 35 - 90° 5. Most of the outliers are present above the upper limit 213° and few are below the lower limit -111° | #VALUE! | 1. Not normally distributed 2. Data is right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.41 | #VALUE!
Wheel_Hub_Temp | 19.97 | 20.28 | 79.44 | 3292.21 | 57.38 | -89.26 | 119.09 | 208.35 | -0.06 | -0.88 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and slightly negative skeweness is present in that data. 2. The majority of the data is located on the right side of the graph, So it is left Skewed distribution 3. Data is Multimodally Distributed.(3 Peaks) | 1. The minimum value is abnormally low for real-world wheel hub operations and likely indicates sensor faults or data recording errors. 2. From a performance standpoint, prolonged high temperatures in the wheel hub area can cause lubrication breakdown, bearing wear, or component failure. | #VALUE! | 1.No outliers are present. 2. Since no outliers are present, so mean of wheel hub temperature 20°C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below -19 °C and 75 Percentile of the data lies below 60°C 4. 50 Percentile of the data lies between -20 to 60°C | #VALUE! | 1. Not normally distributed 2. Data is slightly left skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -0.06 | #VALUE!
Gearbox_Inlet_Temp | 29.8 | 16.79 | 9.9 | 895.06 | 29.92 | 0 | 118.8 | 118.8 | 1.86 | 1.84 | N/A | #VALUE! | #VALUE! | 1. From histogram, the data is not well distributed and skeweness is present in that data. 2. The majority of the data is located on the left side of the graph, So it is Right Skewed distribution. 3. A large portion of the gearbox inlet teperatre clustered between 10°C to 30°C. | 1. Sensor checks and data validation are recommended for high values, especially close to 100°C+, which could be critical for lubrication and mechanical integrity. 2. Need to investigate why the gearbox temperature is not operated between 40°C - 60°C, which is optimum range for the recorded range. | #VALUE! | 1. Total outliers found as 600. 2. Since outliers are present, so median of gearbox inlet temperature 17 °C is cosidered as measure of central tendency. 3. 25 Percentile of the data lies below 14°C and 75 Percentile of the data lies below 25°C 4. 50 Percentile of the data lies between 13 - 25°C 5. Outliers are present above upper limit 41 °C | #VALUE! | 1. Not normally distributed 2. Data is right skewed. | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1.14 | #VALUE!
Failure_Status | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | #VALUE! | [8 empty] | #VALUE! |  |  | #VALUE!

## Heatmap
1. Generator bearing temperature and Nacelle temperature are highily correlated (0.85), which is unexpected. There won't be a direct working relationship between these two features. This may due to sensors captuared faulty records. Need to verify asap. 2. Generator bearing temperature is highily correlated with Nacelle temperature(0.85), Rotor speed(0.83), and Bearing Temperature(0.84). Except Nacelle temperature remaining features rotor speed and bearing teperature are acceptably correlated. 3. Wind speed is less correlated with all features and extemely less correlated with nacelle temperature(-0.81). Higher wind speeds likely cool the nacelle more. 4. Power is considerably correlated with all features except nacelle temperature, Yaw angle. 5. Generator speed and Power strongly correlated, As generator speed increases, more electrical power is generated. 6. Power and Rotor speed are strongly correlated(0.81), this causes more kinetic energy and results the high generator speed and high generator bering temperature. 7. Wind speed and Rotor speed are very less correlated (-0.78) this is unexpected Could be due to regulation mechanisms (e.g., blade pitch control) reducing rotor speed at high wind speeds.